## Pre-FCA Values
Forward Capacity Market Parameters | Capacity Commitment Period (CCP)
Revised date: March 31, 2023 | CCP 2010–2011 | CCP 2011–2012 | CCP 2012–2013 | CCP 2013–2014 | CCP 2014–2015 | CCP 2015–2016 | CCP 2016–2017 | CCP 2017–2018 | CCP 2018–2019 | CCP 2019–2020 | CCP 2020–2021 | CCP 2021–2022 | CCP 2022–2023 | CCP 2023–2024 | CCP 2024–2025 | CCP 2025–2026 | CCP 2026–2027 | CCP 2027–2028
Demand Resource (DR) Multiplier | 1.223 | 1.241 | 1.08 | 1.08 | 1.08 | 1.08 | 1.08 | 1.08 | 1.08 | 1.08 | 1.08 | 1.08 | 1.08 | 1.08 | 1.08 | 1.08 | 1.08 | 1.08
Installed Capacity Requirement (ICR) (MW) | 33705 | 33439 | 32879 | 33043 | 34154 | 34498 | 34023 | 34923 | 35142 | 35126 | 35034 | 34683 | 34719 | 33431 | 34153 | 32568 | 31306 | 31591
Hydro-Québec Installed Capacity Credit (HQICC) (MW) | 1400 | 911 | 914 | 916 | 954 | 1042 | 1055 | 1068 | 953 | 975 | 959 | 958 | 969 | 941 | 883 | 923 | 1001 | 1041
Net Installed Capacity Requirement (NICR) (MW) | 32305 | 32528 | 31965 | 32127 | 33200 | 33456 | 32968 | 33855 | 34189 | 34151 | 34075 | 33725 | 33750 | 32490 | 33270 | 31645 | 30305 | 30550
Net Cost of New Entry (CONE) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 11.08 | 10.81 | 11.64 | 8.04 | 8.156 | 8.187 | 8.707 | 7.468 | 7.359 | 9.078
CONE ($/kW-month) | 7.5 | 6 | 4.918 | 4.918 | 5.349 | 5.723 | 6.055 | N/A | 14.04 | 14.29 | 14.387 | 11.35 | 11.289 | 11.472 | 11.951 | 12.4 | 12.761 | 14.22
Starting Price ($/kW-month) | 15 | 12 | 9.836 | 9.836 | 10.698 | 11.446 | 15 | 15.819 | 17.728 | 17.296 | 18.624 | 12.864 | 13.05 | 13.099 | 13.932 | 12.4 | 12.761 | 14.525
Floor Price ($/kW-month) | 4.5 | 3.6 | 2.951 | 2.951 | 3.209 | 3.434 | 3.15 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
.75*CONE ($/kW-month) | 5.625 | 4.5 | 3.689 | 3.689 | 4.012 | 4.292 | 4.541 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Allowable Dynamic Delist Range | N/A | N/A | N/A | N/A | N/A | N/A | N/A | < 1.000 | < 3.940 | < 5.500 | < 5.500 | < 5.500 | < 4.300 | < 4.300 | < 4.300 | < 2.610 | < 2.590 | < 3.840
Cleared Capacity Amount for Renewable Technology Resources (MW) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 55.936 | 30.5 | 32.803 | 145.342 | 316.986 | 18.784 | N/A | 107.551 | TBD
Available Capacity Amount for Renewable Technology Resources (MW) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 383.749 | 527.813 | 513.564 | 481.197 | 335.855* | 18.869* | N/A | 300* | 592.449
[16 empty] | TBD | TBD | TBD
Dynamic Delist Bid Thresholds
Estimated Net Installed Capacity Requirement (MW) | [15 empty] | 31990 | 30515 | 30535
DDBT First Preliminary Value($/kW-m) | [15 empty] | 1.518 | 1.636 | 3.327
Minimum Limit [0.75 x Prior FCA Clearing Price] ($/kW-m) | [15 empty] | 1.958 | 1.943 | 1.943
Maximum Limit [0.75 x Net CONE] ($/kW-m) | [15 empty] | 5.601 | 5.519 | 6.809
DDBT Second Preliminary Value ($/kW-m) | [15 empty] | 1.958 | 1.943 | 3.327
DDBT Second Preliminary Value Constrained Limit | [15 empty] | Minimum | Minimum | None
Margin Value ($/kW-m) | [15 empty] | 0.65 | 0.648 | 0.511
DDBT Final Value ($/kW-m) | [15 empty] | 2.61 | 2.59 | 3.84
FCM Qualification Thresholds
Re-powering ($/kW) | [6 empty] | 258 | 271 | 277 | 288 | 296 | 308 | 308 | 317 | 328 | 347 | 366 | 417
Incremental Capacity ($/kW) | [6 empty] | 258 | 271 | 277 | 288 | 296 | 308 | 308 | 317 | 328 | 347 | 366 | 417
Environmental Compliance ($/kW) | [6 empty] | 129 | 135 | 138 | 144 | 148 | 154 | 154 | 158 | 164 | 174 | 183 | 208
[16 empty] | TBD | TBD | TBD
Cost Threshold Adjustment Parameters
Handy-Whitman Index of Public Utility Construction Costs
Benchmark Index Value (July, 2008)1 |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 616 | 616 | 616 | 616 | 616 | 616
Most Recent Index Value (July, Current Year)1 |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 931 | 977 | 1011 | 1069 | 1128 | 1283
[16 empty] | TBD | TBD | TBD
External Interface Limit on External Interface Connection (MW)
Hydro-Québec Highgate | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
Hydro-Québec Phase II | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400
New Brunswick | 1000 | 1000 | 1000 | 1000 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700
New York AC Ties | 1525 | 1525 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400
New York Cross-Sound | 330 | 330 | 330 | 330
Transmission Transfer Capacity on External Interface Connection (MW)
Hydro-Québec Highgate | 200 | 200 | 194 | 194 | 194 | 194 | 91 | 117 | 52 | 58 | 55 | 57 | 51 | 64 | 60 | 58 | 50 | 64
Hydro-Québec Phase II | 459 | 459 | 459 | 459 | 459 | 459 | 459 | 459 | 459 | 459 | 459 | 459 | 459 | 459 | 517 | 477 | 399 | 359
New Brunswick | 199 | 199 | 199 | 199 | 199 | 199 | 199 | 199 | 199 | 199 | 199 | 199 | 199 | 199 | 246 | 222 | 177 | 156
New York AC Ties | 1038 | 1038 | 1038 | 1038 | 1038 | 1038 | 1038 | 1038 | 1038 | 1038 | 1038 | 1038 | 1038 | 1038 | 1142 | 1113 | 974 | 1006
New York Cross-Sound | 330 | 330 | 330 | 330
Tie Benefits on External Interface Connection (MW)
Hydro-Québec Highgate |  |  | 6 | 6 | 6 | 6 | 109 | 83 | 148 | 142 | 145 | 143 | 149 | 136 | 140 | 142 | 150 | 136
Hydro-Québec Phase II | 1400 | 911 | 914 | 916 | 954 | 1042 | 1055 | 1068 | 953 | 975 | 959 | 958 | 969 | 941 | 883 | 923 | 1001 | 1041
New Brunswick | 360 | 716 | 609 | 584 | 439 | 328 | 392 | 492 | 523 | 519 | 500 | 506 | 516 | 501 | 454 | 478 | 523 | 544
New York AC Ties | 100 | 173 | 136 | 194 | 290 | 300 | 314 | 227 | 346 | 354 | 346 | 413 | 366 | 362 | 258 | 287 | 426 | 394
New York Cross-Sound
[16 empty] | TBD | TBD | TBD
Offer-Review Trigger Price
Simple Cycle Combustion Turbine | [15 empty] | 5.355 | 5.212 | 6.592
Combustion Turbine | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 13.424 | 13.82 | 13.933 | 6.503 | 6.696 | 6.717 | 7.161 | N/A | N/A | N/A
Combined-Cycle Gas Turbine | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 8.866 | 9.17 | 9.465 | 7.856 | 8.187 | 8.214 | 8.967 | 9.811 | 9.775 | 11.663
On-Shore Wind | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 10.32 | 8.11 | 5.698 | 11.025 | 8.472 | 13.099 | 0 | 0 | 0 | 0
Energy Storage Device – Lithium Ion Battery | [15 empty] | 2.601 | 0.789 | 0.371
Photovoltaic Solar | [15 empty] | 1.381 | 0 | 0
New Import (increased NE import capability) | [8 empty] | 0 | 17.306 | 18.634 | 12.874 | 13.06 | 13.109 | 13.942 | 12.41 | 12.771 | 14.535
New Import (no NE import capability increase) | [8 empty] | 0 | 17.306 | 18.634 | 12.874 | 13.06 | 13.109 | 13.942 | 12.41 | 12.771 | 14.535
Demand Capacity Resources—Commercial and Industrial Load Management | [15 empty] | 0.75 | 0.75 | 0.75
Demand Capacity Resources Previously Installed Distributed Generation | [15 empty] | 0.75 | 0.75 | 0.75
Demand Capacity Resources New Distributed Generation | [15 empty] | Based on generation technology type | Based on generation technology type | Based on generation technology type
Demand Capacity Resources Energy Efficiency | [15 empty] | 0 | 0 | 0
Demand Capacity Resources On-Peak Solar | [15 empty] | 5.414 | 5.414 | 5.414
Demand Capacity Resources—Commercial and Industrial Load Management and/or Previously Installed Distributed Generation | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1.145 | 1.145 | 1.145 | 1.008 | 1.008 | 1.008 | 1.008 | N/A | N/A | N/A
Demand Capacity Resources—Commercial and Industrial New Distributed Generation | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Based on generation technology type | Based on generation technology type | Based on generation technology type | Based on generation technology type | Based on generation technology type | Based on generation technology type | Based on generation technology type | N/A | N/A | N/A
Demand Capacity Resources—Commercial and Industrial Energy Efficiency | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 3.12 | 3.524 | 0 | 0 | 0 | 0 | N/A | N/A | N/A
Demand Capacity Resources—Residential Load Management | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 7.094 | 7.094 | 7.094 | 7.559 | 7.559 | 7.559 | 7.559 | N/A | N/A | N/A
Demand Capacity Resources—Residential Previously Installed Distribution Generation | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1.145 | 1.145 | 1.145 | 1.008 | 1.008 | 1.008 | 1.008 | N/A | N/A | N/A
Demand Capacity Resources—Residential New Distributed Generation | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Based on generation technology type | Based on generation technology type | Based on generation technology type | Based on generation technology type | Based on generation technology type | Based on generation technology type | Based on generation technology type | N/A | N/A | N/A
Demand Capacity Resources—Residential Energy Efficiency | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 3.12 | 3.524 | 0 | 0 | 0 | 0 | N/A | N/A | N/A
1Permission to publish Handy-Whitman Index data has been granted to ISO-NE by the publisher of the data, Whitman, Requardt & Associates, LLP. https://wrallp.com/
*Renewable Technology Resource Proration in effect
ISO-NE PUBLIC